KATES COVE CONSTRUCTION REVIEW PROCESS

Declaration of Protective Covenants for Kate’s Cove Govern The Building of Structures in Kate’s Cove. Please refer to Section 2.1 through 4.5 of the covenants, page 3 through 11. Documents are on Kates Cove Website.

A $2000.00 Construction bond must be paid before plans are approved.
A $200 plan review must be paid at the time plans are presented for review.

Site Plan must be submitted and approved with plan.

Landscape plan must be submitted and approved.

Property lines must be marked

House must be staked out and trees marked for approval before lot is cleared.
No burning of trees or debris permitted.

All homes need to be 24” from finish grade at lowest point of the heated space.  IMPORTANT
Port-A-Potty has to be on site at time of construction.

Dumpster must be placed on site after footers are poured.

All siding must be concrete or wood, no vinyl.

Kate’s Cove light pole must be planned for and located in front yard.  Light pole can be purchased at Pace Lighting.
No front opening garages.
All windows must be double hung or casement and trimmed on interior. No aluminum windows.
All setbacks and side lines must be maintained.

House must be grassed from front of lot to rear corners of house and proper landscape around house. 
All fences must be approved by Kate’s Cove Review Board. No fencing extending from rear corners of house.
Driveway must be 10’ from property lines.

Job site must be maintained and free of debris at all times.

Work not to begin before 7:00 AM and stopped at 6:00PM Monday thru Saturday.  There shall be no work on Sundays or Holidays.

No open fires allowed.

There can be only one sign that has contractor’s name and lot number on lot.

Once project is completed, outside light installed, mailbox, if desired, applied for and occupancy certificate given by county or city, we will inspect to make sure all debris is removed and no damage has occurred to road and if everything is in compliance, the bond will be returned.
If there is any doubt about what is in compliance, please refer to the Kate’s Cove covenants or contact the architectural review committee.

Failure to maintain compliance to covenants and ARC could revoke bond paid.

Outside pole light required on front of house is from Melissa Lighting # H1790B4STBLK.  Can be purchased from most lighting stores or electrical supply houses.

Mailbox can be purchased from Mel Northey, Standard Mail Box # 510CR#1018BP.

Water tap and Impact from Macomber Concentration

Sewer tap and Impact from City of Rincon

Architectural Review Committee can be contacted at 912-826-0820.
